Greenfield Automation Budgetary Bid R

Customer

800xA/S+ (DCS,SIS,PPM,OTS)

Customer reference:	Customer RFQ/Tender reference number

ABB proposal reference:

Global Template

This ABB budgetary offer dated DD.MM.YY is preliminary and not final and as such non-binding. It is tendered for discussion only, does not constitute an offer to sell and/or term to contract and ABB can, without notice, make any change in ABB's own discretion. Any contract to sell the subject matter of the proposal shall be subject to prior mutual agreement as to price (which

may be different than that shown herein) schedule, scope of

work and terms.

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Table of contents

1   Important Notice ....................................................................................................................................... 1

1.1   Budgetary Disclaimer ......................................................................................................................................... 1

1.2   Confidentiality...................................................................................................................................................... 1

1.3   Integrity.................................................................................................................................................................. 1

1.4   Contact Details .................................................................................................................................................... 1

1.5   Revision History ................................................................................................................................................... 1

2   Technical Description................................................................................................................................ 2

2.1   Overview of the Proposed Solution................................................................................................................ 2

2.2   Basis of Offer....................................................................................................................................................... 3

2.2.1   Reference Documents............................................................................................................................ 3

2.2.2   System Design and Key Features(800xA) ........................................................................................ 4

2.2.3   System Topology..................................................................................................................................... 7

2.2.4   I/O Summary ........................................................................................................................................... 7

2.2.5   3rd Party Interface.................................................................................................................................. 8

2.2.6   Graphics.................................................................................................................................................... 9

2.2.7   Historian Sizing....................................................................................................................................... 9

2.2.8   Reports...................................................................................................................................................... 9

2.2.9   Cabinets Summary ................................................................................................................................ 9

2.2.10   Power and Heat Load Calculations ................................................................................................ 12

2.2.11   Cyber Security (800xA)....................................................................................................................... 12

3   Scope of Work .......................................................................................................................................... 13

3.1   Scope of Supply................................................................................................................................................. 13

3.1.1   Bill of Materials....................................................................................................................................... 13

3.1.2   Recommended Commissioning Spares.......................................................................................... 13

3.1.3   Recommended 2 Years Operational Spares................................................................................... 13

3.1.4   Major Sub-Suppliers - Proposed List............................................................................................... 13

3.2   Scope of Services.............................................................................................................................................. 13

3.3   Division of Work ................................................................................................................................................ 14

3.4   Assumption List................................................................................................................................................ 16

3.5   Compliance and Deviations List ................................................................................................................... 16

3.6   TQ and Bid Clarifications List........................................................................................................................ 16

3.7   Exclusion List...................................................................................................................................................... 16

4   Commercial Description......................................................................................................................... 18

4.1   Contract Price .................................................................................................................................................... 18

4.1.1   General Site Services............................................................................................................................ 18

4.2   Terms & Conditions......................................................................................................................................... 20

4.2.1   Supply...................................................................................................................................................... 20

4.2.2   Site Services .......................................................................................................................................... 20

4.2.3   Training - at site and in office........................................................................................................... 20

5   Appendix................................................................................................................................................... 21

5.1   Cabinet Typical Drawings ............................................................................................................................... 21

5.2   Safety Requirements Checklist ..................................................................................................................... 21

5.3   Standard Abbrevation List.............................................................................................................................. 21

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

5.3.1   List of Abbreviations ............................................................................................................................ 21

5.4   Health, Safety & Environment Management Plan.................................................................................... 24

5.5   Quality Plan........................................................................................................................................................ 24

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

1	Important Notice

1.1	Budgetary Disclaimer

This ABB budgetary offer DD.MM.YY is preliminary and not final and as such non-binding. It is tendered for discussion only, does not constitute an offer to sell and/or term to contract and ABB can, without notice, make any change at ABB's discretion.

1.2	Confidentiality

This document contains information about one or more ABB products and may include a description of or a reference to one or more standards that may be generally relevant to the ABB products. The presence of any such description of a standard or reference to a standard is not a representation that all the ABB products referenced in this document support all the features of the described or referenced standard. This document and parts thereof must not be reproduced or copied without written permission from ABB, and the contents thereof must not be imparted to a third party nor used for any unauthorized purpose.

1.3	Integrity

ABB is committed to a high standard of integrity which is expected of every employee and in every country where we do business. With hard work and a clear commitment from ABB's top management at headquarters and across our regions and divisions, ABB has seen the positive impact that a robust compliance and integrity program and a strong culture of integrity can have on the long-term success and sustainability of our company. Integrity is a top priority at ABB.

1.4	Contact Details

Sales Contact	Proposal Contact

Name: ABB Contact 1

Name: ABB Contact 2

Title: Designation Contact 2 
Phone: (Manual Entry)

Cell: Mobile Contact 2

Email: Email Contact 2

Title: Designation Contact 1 
Phone: (Manual Entry)

Cell: Mobile Number Contact 1 
Email: Email Contact 1

1.5	Revision History

Prepared by	Reviewed by	Date	Rev. No.	Remarks (Manual Entry)	ABB Contact 2	DD.MM.YY	0	Initial Proposal

Release

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 1 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

2	Technical Description

2.1	Overview of the Proposed Solution

[Scope]

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 2 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

2.2	Basis of Offer

Process plant is subdivided into groups and further in subgroups respectively as per the production process provided in the RFQ.800xA/Symphony plus system is distributed in the following process locations.

Table 2.1 Process Locations

800xA system offered as per below process area CCR - Central Control Room

LER - Local Equipment Room

RIE Room- Remote Instrument Equipment Room

Process areas in Field

Process Areas

2.2.1	Reference Documents

This ABB proposal is based on our best interpretation of the following documents enclosed with RFQ received via email dated DD/MM/YYYY.

Table 2.2 Reference Document List

Sr. No.

Doc.No.	Doc. Name	Doc. Rev.

No.

Doc. Rev. Date

Received Date

1

2

3

4

5

6

7	TQ and Clarification

Summary(3.6 TQ and Bid Clarifications List)

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 3 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

2.2.2	System Design and Key Features(800xA)

The proposed ICSS System configuration is based on customer-provided documents. Any assumptions and/or deviations have been listed therein, subject to changes based on further discussion/clarification/information.

ABB proposed an 800xA system for ICSS. Refer to 800xahardwareselector.comfor more details on the 800xA system hardware used for BPCS, PPM, SIS, PSD,BMS & FGS applications.

Table 2.3 System Configuration

Sr. No.

Description	ABB’s offering

1	System 	[system]

2	Controllers 	[controllers] 
3	Distributed I/O type 	Conventional S800 I/O for ICSS

Ethernet Select I/O for ICSS (individually configurable)

4	Engineering Station	Control builder M

5	Application Library	Standard - SIS/ FGS

PPM Library -PPM 
PC Device - PCS

6	HMI	ABB AbilityTM System 800xA

7	Historian 	800xA History

8	ICSS Third party Integration with	[Third]

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 4 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Sr. No.

Description	ABB’s offering

9	Redundant /Non-Redundant Network	[redundant]

10	Redundant Servers 	[servers]

11	Non-Redundant Servers 	[non-redundant]

Table 2.4 System Sizing

Sr. No

Description	ABB’s offering

1	Installed I/O Spares included 	[spare] spare considered

2	Spare Space in Indoor Cabinets 	[space] spare space considered

3	Spare space in SJB (RIO)	Based on Customer Field JB req.

4	Intrinsic safe signals 	[safe]

5	HART pass through I/O modules 	[HART]

6	Galvanic Isolated Signals included	Yes

7	Line Monitoring Included	Yes (Field line monitoring resistors

are excluded) 
8	SOE (Sequence of Events) 	Included

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 5 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

9	Indicative cabinet alarms	Common signal

1.	Fan failure / MCB tripped 
2.  Power Supply failure 
3.  Temperature high

10	Interposing relays for Non SIL application 	[Non]

11	Interposing relays for SIL application 	[SIL]

12	Redundancy considered for                                    [re]

Table 2.5 PPM Sytem Functions

Sr. No.

Description	ABB’s offering

1	Load Shedding based on

−	Load shedding based on fast network

determination and energy balance (loss of generation)

−	Load shedding based on under frequency (under frequency relay

installed in switchgear)

Remark: Load Shedding restricted to XXX

MW only for this proposal

2	Load/Power Sharing

−	Load Sharing X units of main generators

3	Generator Control & Monitoring 
−	Generator Control & monitoring for X

units of main generators

4	Synchronization

−	Only Sync Initiate command to initiate

synchronization

5	Electrical Monitoring functions:

−	Real time monitoring and control for XXX

kV, XXX kV,XXX kV,XXX V & XXX V Switchgear Incomer, Bus Tie, Outgoing Power/Motor Feeders /Transformer feeders/VFD

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Included

Included

Included

Included

Included

Page 6 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

−	Real time monitoring of distribution

board, UPS, Battery Charger,HVAC 
6	Online Tap Changer

−	Simple/Master follower philosophy

Included

7	Motor Restart and Reacceleration	Included

2.2.3	System Topology

[image]

2.2.4	IO Summary

[table]

[table]

2.2.5	3rd Party Interface

Table 2.11 Soft I/O Summary

Name of the communication Partner/PLC

Global Template Rev: 0

Protocol	Redundant

(Yes/No)

MODBUS Serial MODBUS TCP/IP PROFINET PROFIBUS PA PROFIBUS DP IEC61850(MMS) IEC61850 (GOOSE)

IEC104 
Classic OPC 
OPC UA 
Total

Signal Qty	Read

Signal Qty

Write Signal Qty

Page 8 of 24

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

2.2.6	Graphics

Table 2.12 Graphics

Control System (includes BPCS, SIS/FGS & PPM)

Simple Process Graphics (Approximately- 30 Dynamic objects)

Medium Process Graphics (Approximately- 40 Dynamic objects)

Complex Process Graphics (Approximately- 50 to 60 Dynamic objects)

High Complex Process Graphics (Approximately- 60 Dynamic objects)

Third party Tabular Graphics (Approximately- 100 Dynamic objects)

Sequence Graphics (Approximately- 10 Steps)

Qty

XX

XX

XX

XX

XX

XX

Total Graphics	[graphics]

2.2.7	Historian Sizing

Table 2.13 History

History Logs	Qty

Redundant/Non-Redundant History Logs	[hist]

2.2.8	Reports

Table 2.14 Reports

Reports	Qty

Simple reports (Status & Maintenance)	[simp]

Complex reports (Production)	[comp]

2.2.9	Cabinets Summary

General Data for Indoor and Outdoor Cabinet

−	Field cable entry point: from the bottom of the cabinet

−	Lamp and socket

−	Thermostats

−	Document holder

−	External identification plate

−	Removable lifting eyes

−	Door micro switch

−	Handles with key insert

−	All cubicles will be provided with baseplate holes for fastening to the floor.(Baseplate is

not part of the offer.)

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 9 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Specific Data for Indoor Cabinet

−	Standard Indoor Cabinets color: RAL 7035 inside/outside −	100 mm Plinth offered

Specific Data for Remote Outdoor Cabinet

−	Standard Indoor Cabinets color: RAL 7035 inside/outside −	100 mm Plinth offered

−	Canopy

Specific Data for Remote Select I/O Outdoor Cabinet

−	ABB has offered ABB standard nVent (Hoffmann) /Equivalent SS316 L RIO Cabinet. −	Remote IO cabinets are designed for wall or structural steel mounting and raised

above grade with cable entries in the bottom.

−	ABB has not included sunshade protection for the Remote I/O Cabinets.

Refer Section 5.1 Cabinet Typical Drawings

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 10 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Table 2.15 Cabinets

Cabinet Type	Dimensions

(H x W x D) in mm

Location	Hazardous Area

Classification

IP Class	Door & Access

BPCS Controller Cabinets	2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

BPCS Controller with I/O Marshalling 
Cabinets

BPCS I/O with Integrated Marshalling 
Cabinets

2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

SIS Controller Cabinets	2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

SIS I/O with Integrated Marshalling 
Cabinets

SIS Controller with I/O Marshalling 
Cabinets

2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

Select I/Os Wall Mounted	1200 x 1000 x 500	Outdoor	Zone 2/Class 1 Div 2	IP 66	Single Door/Front

Select I/Os Floor Standing	2000 x 800 x 800	Outdoor	Zone 2/Class 1 Div 2	IP 65	Double door/ Front &

Rear

Server Cabinets	2000 x 800 x 1000	Indoor	Zone 2/Class 1 Div 2	IP 21	Double door/ Front &

Rear

Network Cabinets	2000 x 800 x 1000	Indoor	Zone 2/Class 1 Div 2	IP 21	Double door/ Front &

Rear

Server/Network Cabinets	2000 x 800 x 1000	Indoor	Zone 2/Class 1 Div 2	IP 21	Double door/ Front &

Rear

Power Distribution Cabinets	2000 x 800 x 800	Indoor	Zone 2/Class 1 Div 2	IP 42	Double door/ Front &

Rear

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Global Template Rev: 0	PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 11 of 24

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

2.2.10	Power and Heat Load Calculations

Table 2.16 Power and Heat Load Summary

Location	Power Consumption	Heat Dissipation

VAC	Arms	Watts	Watts	(BTU/Hour) CCR	230	xxxx	xxxx	xxxx	xxx

Admin Bldg	230	0	0	0	0

Admin Bldg	230	0	0	0	0

XXX	230	0	0	0	0

XXX	230	0	0	0	0

XXX	230	0	0	0	0

XXX	230	0	0	0	0

XXX	230	0	0	0	0

XXX	230	0	0	0	0

2.2.11	Cyber Security (800xA)

ABB has achieved ISASecure® System Security Assurance (SSA™) Level 1 certification for System 800xA version 6.1.1.x according to the IEC 62443 international Cyber Security standard. This covers core components typical of an industrial control system delivery including System 800xA Software and System 800xA Hardware. The SSA system level certification verifies that the overall System 800xA provides security functions and features as required by IEC 62443-3-3 Security Level 1. In addition, the System 800xA product organisation has achieved ISASecure® Security Development Lifecycle Assurance (SDLA) certification. This verifies that the Secure Product Development Process is in accordance with IEC 62443-4-1 requirements. System 800xA has also been thoroughly tested to ensure its robustness to withstand network attacks as required by the ISASecure® conformance certification program.

For Greenfield Automation Budgetary Bid Rev 0(Test) includes installation and configuration of Cyber Security features and capabilities in ABB Products Technologies in addition to features in validated third party products for:

Our approach will be concentrated on the following list of main activities:

−	Antivirus software

−	Patch Management

−	Secure Default Settings & Hardening (Network / System / Application Hardening

(embedded))

−	Access & Account Management and Authentication

−	Backup and Restore facility

−	Security Policy based on ABB 800xA security Policies 
−	Network Segregation

−	Detailed Topologies

−	Security Solution

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 12 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

3	Scope of Work

3.1	Scope of Supply

3.1.1	Bill of Materials

3.1.2	Recommended Commissioning Spares

3.1.3	Recommended 2 Years Operational Spares

3.1.4	Major Sub-Suppliers - Proposed List

Sr. No.	Description	Vendor/ Equipment

1	ABB Hardware Material	ABB

2	ABB Software Material	ABB

Dell/ HP

3	IT Hardware- Server/

Workstation/ Monitor

4	Network Components /

FOPP

Hirschmann/ MOXA/Belden/Blackbox/ Westermo/Cisco

5	Cabinets	Rittal/ Hoffman/ Rose Mecano

6	Consoles	CGM/Akida/Pyrotech/Poly-M

7	Printer	Dell/HP/Xerox/Canon

8	Relays	GMI/ MTL/ Phoenix Contact/P&F

9	Barriers	GMI/Phoenix contact/P&F

10	Laptop	HP/Dell

Note: The above brands have been proposed, however during execution ABB would be at liberty to select equivalent vendor.

3.2	Scope of Services

We have considered below-mentioned following services as a part of this proposal.

1.	Project Management

2.  Engineering

3.  Functional Safety Management (attached 5.2 Safety Requirements Checklist) 4.  Internal Tests

5.  FAT

6.  Packing & Shipment

7.	Freight

8.  Erection Supervision

9.  Commissioning

10. SAT

11. Final Documentation

12. Training

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 13 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

3.3	Division of Work

The following table lists all work packages relevant for the listed scope of supply and services of this offer and defines which party is responsible (R) and which party supports (S) in each case.

The tasks listed below relate only to the scope of supply and services listed in this offer for which ABB is responsible and explicitly do not relate to the scope of supply and services

of the overall project. Tasks not explicitly listed therein are excluded from the scope of this offer and may need to be renegotiated.

Table 3.1 Division of work between ABB and customer for the offer related project scope.

Sr. No

Scope Description	Customer	ABB	Comments

1	Project management	R	R	Each party is

responsible for their own scope.

2	Project meetings	R	S

3	Project schedule	R	S

4	Permit management	R	-

5	Data input	R	S

6	Basic Engineering	-	R

7	Detail Engineering	-	R

8	Design Freeze	R	S

9	Purchasing	-	R

10	Factory acceptance testing (FAT)	S	R

11	Delivery	-	R

R	-

12	Storage of material at site before

erection

13	Foundation works	R	-

14	Civil works	R	-

15	Site infrastructure	R	-

16	Site management	R	-

17	Health, safety and environment

(HSE) management

R	R	Each party is

responsible for their own scope.

18	Quality management	R	R	Each party is

responsible for their own scope.

19	Pipe works 	R	-

20	Cable works	R	-

21	Erection works	R	-

22	Erection supervision	-	R	Offered on hourly

basis.

23	Cold commissioning	-	R	Offered on hourly

basis.

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 14 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

24	Hot commissioning and site

acceptance testing (SAT)

S	R	Offered on hourly

basis. 
25	Operator / maintenance trainings  -	-	Can be offered on

request after further specification.

26	Handover of ABB scope	R	S

27	Handover of plant	S	-

28	Warranty	R	R	Each party is

responsible for their own scope.

29	After-sales service agreement	-	-	Can be offered

directly to the end-user on request.

In addition to above scope below-mentioned scope is offered for PPM.

Table 3.2 Division of work between ABB and customer for PPM Scope

Sr. No

Scope Description	Customer	ABB	Comments

1	PPM, IEC 61850, and Modbus

TCP/IP Network outside ABB supply

2	Ethernet switches in switchgear

(for PPM connection)

3	Remote Operation Panel/

Synchronization Panel

4	Under-frequency relay (Part of

ABB Switchgear scope)

5	Integration test with main

generator vendor

6	Communication Interface Test (at

3rd party package vendor factory with ABB PPM)

7	Sea-trial/On/Offshore

Commissioning

- R

- R

- R

- R

- R

- R	Per diem basis

- R	Per diem basis

8	DNV Certification	-	R

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 15 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

3.4	Assumption List

1.	XXX 2.  XXX

3.5	Compliance and Deviations List

01_Compliance Statement Template.xlsx

3.6	TQ and Bid Clarifications List

TQ Template

3.7	Exclusion List

The supply excludes:

−	The hardware / software required at ICSS system end for interfacing third party systems are only taken in ICSS scope. Any hardware/software changes at the third-

party system end for interfacing with ICSS system shall not be in scope of ABB. ABB presumes that the cables from third party systems shall be made available at the network cabinet end for interfacing with ICSS system.

−	ABB has not included any modification/additional works required in our system due to

some other contract getting executed at the same time in the same location. 
−	Interface with Plant LAN is not in ABB Scope of supply. Simplex firewall is offered.

−	Any Third-Party system modification.

−	Any type of Furniture’s.

−	Any protections relay setting, commissioning and testing. 
−	Fiber Optic Patch Panel (FOPP) required for Third party Systems. 
−	Power Distribution Board.

−	Electrical System.

−	Fire suppression and firefighting System.

−	UPS/Non-UPS and battery back-up.

−	All detectors (Fire & Gas)

−	All erection activities.

−	Any rework/revamp/rerouting of existing systems.

- Supply and installation of any Fiber Optic Patch Panel/Fiber Optic accessories/Field Cables/Power/Special Cables for Instruments and related conduits, lugs, cable tray, pipes etc.

−	All civil works & grounding pits. 
−	Termination of third-party cables.

- For Power rating, ABB involvement is limited to supplying power consumption

usage of all the equipment that it has supplied.

- Supply of field instrumentation, junction boxes, cable glands, MCT, cable trays,

supports, cables and other accessories are excluded from scope of supply. 
−	Fiber optic cable, splicing and termination.

−	Cable trays/ Conduits / Support or any such installation material.

- Supply, laying, glanding and termination of inter panel connecting (power cable, signal/instrument cable, communication cables and grounding cables etc.) cables

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 16 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

and interfacing with third party systems.

−	Upgrading / updating of any existing local Instruments/devices/control systems.

−	UPS System, Grounding System & Earthing Pits.

- ABB involvement is limited to supplying power consumption usage of all the

equipment that it has supplied to allow for the correct sizing of the UPS/Non-UPS system by the EPC.

−	Cubicle/Plant earthing system.

−	Panel bottom fire-retardant ceiling.

−	All Products and services are excluded which are not specifically mentioned. 
−	Providing any features which not available in offered package.

−	Mechanical work like drilling in panel, painting & welding is not envisaged. 
−	Installation and commissioning of the spare of any spare modules supplied with the

system.

- All third-party devices, panels and related modifications. if AFS and F&G detector

systems are provided by 3rd party, ABB as an ICSS supplier will work with these parties for system interfacing and testing only.

- Risk Analysis & Assessment, HAZOP studies & reviews, SIL determination & reviews,

Safety Requirements Specification (SRS), SIF Determination.

- Accountability for SIL determination of each Safety Instrumented Functions (SIF),

SIL Calculation/Determination, and Systematic Safety Integrity to the required SIL.

- Alarm Rationalization Workshop.

−	Special tools for Installation, Test, Operation and Maintenance not been considered. 
−	Testing Instruments.

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 17 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

4	Commercial Description

4.1	Contract Price

Base Scope

Description	Price in USD

$ XXX, XX

ABB AbilityTM System 800xA

(Including design, engineering, procurement, fabrication, internal 
testing and supply of ABB Control System as listed in the scope 
of work).

Total	$ XXX, XX

Notes

−	The above prices are based on Incoterms 2023 XXX.

−	Price breakout is for information purposes only and can not be purchased separately. −	ABB has not included any site support services like FAT, supervision of Erection &

Commissioning and Site Acceptance Test (SAT) support as part of the base proposal. This shall be based on the ABB Standard Project Labor rates provided below.

−	ABB has not included revamping/ removal of any/all existing systems/components at

site in our scope of work.

−	ABB proposal does not include any cost for Civil/Construction work for any/all the

systems.

−	Please see "Section 3 Scope of Work" for more details on Scope of Work.

−	Unit rates for additional Engineering support, Field supervision support for Erection/ Commissioning/Initial system check and Site Acceptance Test (SAT) are available on a time & expenses basis, with travel expenses billed at actual cost incurred plus 15%.

Optional Scope

Description	Price in USD

Commissioning Spares 	$ XXX, XX

Recommended 2 Years Operational Spares	$ XXX, XX

Training 	$ XXX, XX

4.1.1	General Site Services

ABB standard rates for erection supervision and commissioning and site training are based on the normal working time of 40 hours per week (5 days of 8 hours) per person. They are charged as follows refer table below.

Remarks

All costs for taxes, custom duties or other fees and duties in connection with the conclusion or performance of this contract, are to the charge of the client.

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 18 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Table 4.1 ABB standard site service rates per person

Category	Description	Unit	Currency  Installation

supervisors

Commissioning / Service

Daily rates	Normal hrs.on regular working days, 8h/day

from Mon – Fri, between 07:00 - 19:00

Overtime in excess of 8h/day, up to 2h/day / Night works on normal hrs. on regular working days from Mon – Fri, between 19:00 - 07:00

Per day

Per hour

USD	XXX	XXXX

USD	125% of Normal rate

Normal hrs.on Sat between 07:00 - 19:00	Per hour

USD	150% of Normal rate

Work or Travelling on Sundays/ Holidays, Overtime in excess of 8h/day, up to 2 hours & Night work on Saturdays between 19:00- 07:00

Travelling, briefing-/debriefing time, waiting time

Per hour

Per hour

USD	200% of Normal rate

USD	100% of Normal rate

Accommodation  Accommodation including breakfast	USD	At actual cost + 15%

Admin.fee

USD	XXX

Minimum accommodation charges.	Per

day

Travel	Air ticket class: (Economy)	USD	At actual

cost + 15% Admin.fee

USD	At actual

cost + 15% 
Admin.fee

Travel from ABB office to airport and return (flat 
rate)

Travel within the country / day (rent a car) without driver

Travel within the country / day (rent a car) with driver

Mobilisation  Visa administration and personal health & safety preparation, if required

Non-standard health & safety docs and translations for site access, per document

Per day

USD	XXX

USD	At actual

cost + 15% Admin.fee

USD	XXXX

USD	XXXX

The site activity is subject to availability of a certified engineer. The requested starting date for site activity is to be confirmed with ABB a minimum of 6 working weeks before the requested start date. Requests to change the confirmed starting date for the service is always subject to availability i.e. the availability will not be guaranteed in case of deviation from the confirmed date. A charge will be applied in case of rescheduling as follows:

USD	XXXX

If starting date for on-site work is scheduled or

rescheduled by the customer less than 6

working weeks before agreed commencement,

the customer will pay an administrative fee.

If the starting date is changed within 1 working week all run up costs will be charged. Run up costs may include but are not limited to 
briefing time, costs related to mobilization (e.g. flights, car rentals, visa).

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

USD	At actual

cost + 15% Admin.fee

Page 19 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

In case ABB is subject to withholding tax in the client’s country, the client will pay such withholding tax on behalf of ABB to the responsible authorities. The client shall submit to ABB a tax receipt for withholding tax paid.

Should taxes, custom duties or other fees and duties be levied on ABB in the client’s country in connection with the conclusion or performance of this contract, ABB reserves the right to issue final invoice adding the costs of such taxes, custom duties or other fees and duties and the client shall pay such invoice within the agreed payment period.

Preparation, Reporting & Debriefing (at ABB Office)

Expected briefing time: 8 hours.

Expected debriefing time: 8 hours.

Home Leave Right

When employed abroad more than 6 months, our personnel is entitled to home leave each 3 months abroad.

Working Time

A normal field service working day is 8 hours between 07:00 - 19:00.

If the work exceeds more than 4 hours on any day or 3 hours for travelling from /to (together) to work site, it shall be treated as a full day work. The minimum invoice is 8 hours per day for standard work, a single person will not be engaged to work more than 
10 hours in a day

4.2	Terms & Conditions

4.2.1	Supply

4.2.2	Site Services

4.2.3	Training - at site and in office

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 20 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

5	Appendix

5.1	Cabinet Typical Drawings

800xA Cabinet Typical Drawings 
Symphony Plus Cabinet Typical Drawings

5.2	Safety Requirements Checklist

5.3	Standard Abbrevation List

5.3.1	List of Abbreviations

Table 5.1 Abbreviation List

Abbreviation	Full name 
APC	Advanced Process Control

APL	Advanced Physical Layer

ATEX	Explosive Atmospheres (ATmospheres EXplosibles) 
BF	Brownfield

BPCS	Basic Process Control System

C&E	Cause & Effect

CAP	Critical Action Panel

CED	Contactor Engineering Database

CCR	Central Control Room

CER	Central Equipment Room

DCS	Distributed Control System

DCU	Drive Control Unit (Thruster Ctr, Marinel) 
DIG	Data Interface Gateway

EP	Engineering and Procurement

EPC	Engineering, Procurement and Construction 
EPCH	Engineering, Procurement, Construction and Hook-up EPCI	Engineering, Procurement, Construction and Installation ESD	Emergency Shutdown System

EWS	Engineering Work Station

F&G	Fire and Gas System

FA	Framework Agreement

FAT	Factory Acceptance Test

FCA	Free Carrier

FDM	Field Device Manager

FEED	Front End Engineering Design

FISCO	Fieldbus Intrinsically Safe Concept 
FTC	Field Termination Cabinet

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 21 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Abbreviation	Full name 
GF	Greenfield

GL	Guideline

HAZOP	Hazard and Operability Study 
HIPPS	High Integrity Pressure Protection System 
HMI	Human Machine Interface

HVAC	Heat Ventilation and Air Conditioning

IAC	Internode Application Communication (ABB AC800M Controller Node

Function)

IACS	Industrial Automation and Control System

IEC	International Electrotechnical Commission

IED	Intelligent Electrical Devices

IMO	International Maritime Organisation

GSE	Health Safety and Environment

IAS	Integrated Automation System (Marine)

IMS	Information Management System

I/O	Input / Output

IS	Intrinsically Safe

KPI	Key Performance Indicator

LBF	Large Brownfield

LAN	Local Area Network

LER	Local Equipment Room

LCI	Life Cycle Information

LOPA	Layer Of Protection Analysis

LSD	Large Screen Display

LTS	Long-Term Support

LQ	Living Quarter

LV	Low Voltage

MAC	Main Automation Contractor

MCB	Miniature Circuit Breaker

MCC	Motor Control Centre

M&M	Maintenance and Modification

MTP	Module Type Packages

MSI	Multi System Integration

NFPA	National Fire Protection Association

OMMU	Operation, Maintenance, Modification and Upgrade (incl. repair) 
OPC	Open Platform Communications

OPC UA	OPC Unified Architecture

OPAF	Open Process Automation Forum

OPAS	Open Process Automation Standard 
OSAT	On-Site Acceptance Test

OTS	Operator Training Simulator

OWS	Operator Workstation

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 22 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

Abbreviation	Full name

P&ID	Piping and Instrumentation Diagram

PAC	Provisional Acceptance Certificate

PCS	Process Control System

PDCS	Power Distribution Control System 
PO	Purchase Order

PPM	Process Power Manager

PSA	Project Specific Agreement

PSD	Process Shutdown System

RCCR	Remote Central Control Room (Onshore) 
RFOC	Ready for Operation Certificate

RIO	Remote I/O

RTD	Resistor Temperature Detector

SAS	Safety and Automation System

SCD	System Control Diagram

SIRL	Supplier Information Requirement List

SIF	Safety Instrumented Function

SIL	Safety Integrity Level

SIS	Safety Instrumented System

SOW	Scope of Work

SPIR	Spare Part List and Interchangeability Record SURF	Subsea, Umbilical, Riser and Flowline 
SW	Software

TCP/IP	Transmission Control Protocol/Internet Protocol TCO	Total Cost of Ownership

TCS	Turbine Control System

TR	Technical Requirement

UPS	Uninterrupted Power Supply

VDU	Visual Display Unit

VSD	Variable Speed Drive

XML	Extensible Markup Language

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 23 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024

Greenfield Automation Budgetary Bid Rev 0(T

Customer | Customer RFQ/Tender reference number

5.4	Health, Safety & Environment Management Plan

Health, Safety and Environment (HSE) shall always be the focus at all levels in the project, from managers to each employee. All activities shall be performed in such a way that HSE is given the same priority as other business activities. Project activities shall be planned and implemented in such a way that Health and Safety are promoted for all project members, a safe and beneficial working environment is provided, and the environment and property are protected.

No activities shall compromise the safety of people and the environment. All project members are required to comply with this policy in all activities in such a way that nobody is subject to occupational injury or disease, pollution of the environment is avoided.

Project Health, Safety and Environmental requirements will be documented within the project HSE plan. This is a live document and will be maintained for the duration of the project.

5.5	Quality Plan

Global Template Rev: 0

PRELIMINARY DRAFT - FOR DISCUSSION ONLY - CONFIDENTIAL

Page 24 of 24

We reserve all rights in this document and the information contained therein. Reproduction or disclosure to third parties without express consent or approval is strictly forbidden © ABB 2024